## Sheet1
S/N | Date | Counter Staff Name | Case No. (YYYYMMDD000) | Reporting Time | Department | Block | Level | Feedback | Informed to? | Problem Report (PR) Number | Remarks
1 | 2021-10-01 | S | 20211001001 | 10:08:00 | EES | 73 | 1 | light bulb lt corridor flickering | Hisham | PR2021/001407 | Closed
2 | 2021-10-01 | S | 20211001002 | 12:38:00 | EES | 47 | Rooftop | water pipe burst | Ravi | PR2021/001408 | Closed
3 | 2021-10-01 | S | 20211001003 | 13:37:00 | - | 6 | 6 | room nos light bulb fused | Hisham | PR2021/001409 | Closed
4 | 2021-10-01 | S | 20211001004 | 13:38:00 | EES | 58 | 2 | nos light bulb fused | Hisham | PR2021/001410 | Closed
5 | 2021-10-01 | S | 20211001005 | 1:57 :00 | Exceltec Maintenance | 58 | 2 | stains floor | Eddie | PR2021/001411 | Closed
6 | 2021-10-01 | S | 20211001006 | 14:43:00 | SOE | 7 | 1 | male toilet urinal overflow | Nazri | PR2021/001412 | Closed
7 | 2021-10-01 | S | 20211001007 | 5:30 :00 | DE | 58 | 2 | agile unicorn space contractor fix cable morning cable working condition lan cable connection strong | CC IT Department | PR2021/001413 | Closed
8 | 2021-10-01 | S | 20211001008 | 23:32:00 | EM | 72 | 3 | aircon closest corner right mirror leaking | Ravi | PR2021/001421 | Closed
9 | 2021-10-03 | S | 20211003009 | 21:17:00 | Mainguard (Security) | 6 | 3 | lighitng switched | Hisham | PR2021/001422 | Closed
10 | 2021-10-04 | S | 20211004010 | 07:30:00 | EES | 1 | 1 | water supply | Nazri | PR2021/001423 | Closed
11 | 2021-10-04 | S | 20211004011 | 08:30:00 | HS | 81 | 5 | aircon supply user lesson classroom | Ravi | PR2021/001424 | Closed
12 | 2021-10-04 | S | 20211004012 | 09:38:00 | SOE | 7 | 1 | male toilet first urinal leaking overlflowing third cubical wc flush | Nazri | PR2021/001425 | Closed
13 | 2021-10-04 | S | 20211004013 | 09:40:00 | Coperate Communication | 1 | 3 | cocomm office male toilet water coming tap | Nazri | PR2021/001426 | Closed
14 | 2021-10-04 | S | 20211004014 | 09:41:00 | SSVC | 1 | 1 | water pressure low | Nazri | PR2021/001427 | Closed
15 | 2021-10-04 | S | 20211004015 | 10:32:00 | LSCT | 80 | 8 | animal room aircon leaking | Ravi | PR2021/001428 | Closed
16 | 2021-10-04 | S | 20211004016 | 11:56:00 | EES | 68 | 1 | lt lighting trip | Hisham | PR2021/001429 | Closed
17 | 2021-10-04 | S | 20211004017 | 14:12:00 | Exceltec Cleaning | 16 | 1 | female toilet nos light bulb fused | Hisham | PR2021/001430 | Closed
18 | 2021-10-04 | S | 20211004018 | 14:32:00 | SAS | 22 | 3 | aircon cold | Ravi | PR2021/001431 | Closed
19 | 2021-10-04 | S | 20211004019 | 14:51:00 | Exceltec Maintenance | 35 | 1 | aircon remote control faulty room burning | Ravi | PR2021/001432 | Closed
20 | 2021-10-04 | S | 20211004020 | 12:12:00 |  | 39 | 2 | aircon cool leakge | Ravi | PR2021/001450 | Closed
21 | 2021-10-04 | S | 20211004021 | 14:47:00 | HMS | 52 | 5 | card reader power supply | Nazri | PR2021/001451 | Closed
22 | 2021-10-04 | S | 20211004022 | 17:44:00 | Exceltec Maintenance | 1 |  | water meter power supply | Nazri | PR2021/001452 | Closed
23 | 2021-10-04 | S | 20211004023 | 00:01:00 | Mainguard (Security) | PIE side gate covered walkway | 1 | nos pillar light fused | Hisham | PR2021/001459 | Closed
24 | 2021-10-04 | S | 20211004024 | 00:10:00 | Mainguard (Security) | Carpark B | 1 | signage light flickering | Hisham | PR2021/001459 | Closed
25 | 2021-10-04 | S | 20211004025 | 00:30:00 | Mainguard (Security) | 72 (Our Space Entrance) | 2 | flooring damage | Ellias | PR2021/001521 | Closed
26 | 2021-10-04 | S | 20211004026 | 01:00:00 | Mainguard (Security) | 7/8 level 1 lift lobby | 1 | light bulb fused | Hisham | PR2021/001522 | Closed
27 | 2021-10-04 | S | 20211004027 | 01:30:00 | Mainguard (Security) | 56 | 6 | staircase flourescent light tube fused | Hisham | PR2021/001523 | Closed
28 | 2021-10-04 | S | 20211004028 | 01:45:00 | Mainguard (Security) | 56 | 3/4 | staircase flourescent light fused | Hisham | PR2021/001524 | Closed
29 | 2021-10-04 | S | 20211004029 | 02:00:00 | Mainguard (Security) | 56 | 2 | staircase flourescent tube fused | Hisham | PR2021/001525 | Closed
30 | 2021-10-04 | S | 20211004030 | 02:15:00 | Mainguard (Security) | 56 level | 2/3 | staircase flourescent tube fused | Hisham | PR2021/001526 | Closed
31 | 2021-10-04 | S | 20211004031 | 02:30:00 | Mainguard (Security) | 56 | 1 | outside flourescent tube fused | Hisham | PR2021/001527 | Closed
32 | 2021-10-04 | S | 20211004032 | 02:40:00 | Mainguard (Security) | 56 | 4 | outside light tube fused | Hisham | PR2021/001528 | Closed
33 | 2021-10-04 | S | 20211004033 | 02:52:00 | Mainguard (Security) | 56 | 1 | outside light tube fused | Hisham | PR2021/001529 | Closed
34 | 2021-10-04 | S | 20211004034 | 03:00:00 | Mainguard (Security) | 56 | 4/5 | staircase light flickering | Hisham | PR2021/001530 | Closed
35 | 2021-10-04 | S | 20211004035 | 03:20:00 | Mainguard (Security) | Carpark A | 1 | signage light flickering | Hisham | PR2021/001531 | Closed
36 | 2021-10-04 | S | 20211004036 | 03:40:00 | Mainguard (Security) | 73 |  | lt door handle loose | Nazri | PR2021/001532 | Closed
37 | 2021-10-04 | S | 20211004037 | 04:00:00 | Mainguard (Security) | 73 | 1 | next emergency ceiling light faulty lighted | Hisham | PR2021/001533 | Closed
38 | 2021-10-05 | S | 20211004038 | 08:30:00 | CC NETWORK (Contractor) | 8 | 3 | server room trigers high temperature alarm | Ravi / Nazri | PR2021/001453 | Closed
39 | 2021-10-05 | S | 20211004039 | 08:45:00 | EES | 73 |  | lift working | Nazri | PR2021/001454 | Closed
40 | 2021-10-05 | S | 20211004040 | 09:00:00 |  | 73 | 4 | hole ceiling nos light strips working arrange oct | Hisham | PR2021/001455 | Closed
41 | 2021-10-05 | S | 20211004041 | 14:24:00 | Cleaning | 31 | 3 | male toilet light tube fused | Nazri | PR2021/001456 | Closed
42 | 2021-10-05 | S | 20211004042 | 14:25:00 | Cleaning | 31 | 3 | male toilet bidet spray faulty | Hisham | PR2021/001520 | Closed
43 | 2021-10-05 | S | 20211005043 | 16:37:00 | ALBA | 51 |  | bin centre compactor trip | Nazri/Azrul | PR2021/001457 | Closed
44 | 2021-10-05 | S | 20211005044 | 08:57:00 | Exceltec Cleaning | 58 | 1 | aircon leaking | Ravi | PR2021/001458 | Closed
45 | 2021-10-06 | S | 20211006045 | 08:01:00 | Mainguard (Security) | 1 | 1 | aircon | Ravi | PR2021/001460 | Closed
46 | 2021-10-06 | S | 20211006046 | 08:02:00 | Exceltec Cleaning | 23 | 1 | male toilet wc choke | Nazri | PR2021/001461 | Closed
47 | 2021-10-06 | S | 20211006047 | 08:23:00 | BA | 78 |  | access lt | Zul Faiz (Bobo) | PR2021/001462 | Closed
48 | 2021-10-06 | S | 20211006048 | 09:04:00 | SSVC | 1 | 1 | carpet pop need glue | Nazri | PR2021/001463 | Closed
49 | 2021-10-06 | S | 20211006049 | 09:07:00 | Exceltec Cleaning | 16 | 2 | wooden plank broken | Nazri | PR2021/001464 | Closed
50 | 2021-10-06 | S | 20211006050 | 09:45:00 | SOE | 8 | 3 | corridor ceiling lights fused male toilet nos bulb fused | Hisham / Nazri | PR2021/001465 | Closed
51 | 2021-10-06 | S | 20211006051 | 10:00:00 | SOE | 8 | 4 | black stains floor | Nora | PR2021/001466 | Closed
52 | 2021-10-06 | S | 20211006052 | 11:10:00 | SOE | LT 68C |  | shift boxes printed notes bicycle lt blk shifting done oct | Azrul | PR2021/001467 | Closed
53 | 2021-10-06 | S | 20211006053 | 11:26:00 | FMS | 52 | 8/9 | repainting work blk level rooms corridor | James | PR2021/001468 | Chargable (Not approved) Closed
54 | 2021-10-06 | S | 20211006054 | 11:34:00 | SOE | 08/01/01B | 1 | provide movers trolleys transport display projects platform stages signages blk blk next thursday also arrange chairs blk | Azrul | PR2021/001469 | Closed
55 | 2021-10-06 | S | 20211006055 | 11:37:00 | EES | 73 | 2 | blown lamps non av equipment disposed | Nora | PR2021/001470 | Closed
56 | 2021-10-06 | S | 20211006056 | 11:41:00 | Exceltec Cleaning | 1 | 1 | powerpoint socket cover came | Nazri | PR2021/001471 | Closed
57 | 2021-10-06 | S | 20211006057 | 13:55:00 | HS | 81 | 5 | prjector screen project image speaker lab sound intermiten wire exposed issue going week | Zul Faiz (Bobo) & Nazri | PR2021/001472 | Closed
58 | 2021-10-06 | S | 20211006058 | 14:34:00 | EES | 81 | 5 | nos light fused | Hisham | PR2021/001473 | Closed
59 | 2021-10-06 | S | 20211006059 | 15:35:00 | SOE | 23 | 2 | aircon emit burning smell | Ravi | PR2021/001474 | Closed
60 | 2021-10-06 | S | 20211006060 | 17:49:00 | BA | 58 |  | lt aircon | Ravi | PR2021/001475 | Closed
61 | 2021-10-07 | S | 20211007061 | 01:05:00 | Mainguard (Security) | 72 | 2 | floor tile damage space entrance | Nazri | PR2021/001476 | Closed
62 | 2021-10-07 | S | 20211007062 | 01:45:00 | Mainguard (Security) | 7 | 8 | lift lobby light bulb fused | Hisham | PR2021/001477 | Closed
63 | 2021-10-07 | S | 20211007063 | 02:20:00 | Mainguard (Security) | Carpark B | 1 | signage light flickering | Hisham | PR2021/001459 | Closed
64 | 2021-10-07 | S | 20211007064 | 03:20:00 | Mainguard (Security) | 56 | 1 | staircase outside corridor light tube fused | Hisham |  | Closed
65 | 2021-10-07 | S | 20211007065 | 03:25:00 | Mainguard (Security) | 56 | 1 | light tube fused | Hisham | PR2021/001527 | Closed
66 | 2021-10-07 | S | 20211007066 | 04:00:00 | Mainguard (Security) | 56 | 4 | staircase light tube fused | Hisham | PR2021/001478 | Closed
67 | 2021-10-07 | S | 20211007067 | 07:04:00 | Exceltec Maintenance | 72 | 1 | plc light bulb fused | Hisham | PR2021/001479 | Closed
68 | 2021-10-07 | S | 20211007068 | 08:22:00 | EES | 72 | 5 | centralised aircon working | Ravi | PR2021/001480 | Closed
69 | 2021-10-07 | S | 20211007069 | 08:42:00 | Exceltec Cleaning | 58 | 3 | male toilet urinal water | Nazri | PR2021/001482 | Closed
70 | 2021-10-07 | S | 20211007070 | 08:45:00 | SSVC | 1 | 1 | carpet pop request glue carpet | Nazri | PR2021/001483 | Closed
71 | 2021-10-07 | S | 20211007071 | 08:46:00 | Exceltec Cleaning | 56 | 1 | male toilet wall mounted fan faulty | Nazri | PR2021/001484 | Closed
72 | 2021-10-07 | S | 20211007072 | 08:50:00 | Exceltec Cleaning | 56 | 2 | male toilet wall mounted fan faulty | Nazri | PR2021/001485 | Closed
73 | 2021-10-07 | S | 20211007073 | 09:01:00 | SOE | 22 |  | food club entrance newly commissioned tv showing headcount tv | Zul Faiz (BOBO) | PR2021/001486 | Closed
74 | 2021-10-07 | S | 20211007074 | 09:07:00 | Computer Centre | 31 | 3 | enquire cancel forwarded call hp office telephone | Vincent | - | Closed
75 | 2021-10-07 | S | 20211007075 | 09:44:00 | Exceltec Cleaning | 7 | 1 | male toilet urinal water supply | Nazri | PR2021/001487 | Closed
76 | 2021-10-07 | S | 20211007076 | 09:45:00 | - | 72 | 1 | handicap toilet bidet spray faulty | Nazri |  | Closed
77 | 2021-10-07 | S | 20211007077 | 10:21:00 | HS | 81 | 2 | aircon degrees celcius cold enough aircon door close properly | Ravi (Aircon) & Nazri (Door issue) | PR2021/001488 | Closed
78 | 2021-10-07 | S | 2021100078 | 11:15:00 | HS | 81 | 1 | false ceiling going drop | Nazri | PR2021/001489 | Closed
79 | 2021-10-07 | S | 20211007079 | 11:46:00 | EES | 81 | 2 | aircon display error code | Ravi | PR2021/001490 | Closed
80 | 2021-10-07 | S | 20211007080 | 13:03:00 | SOE | 7 | 1 | male toilet urinal leaking | Nazri | PR2021/001491 | Closed
81 | 2021-10-07 | S | 20211007081 | 13:15:00 | Exceltec Cleaning | 22 | 1 | lift call button faulty | KONE | PR2021/001492 | Closed
82 | 2021-10-07 | S | 20211007082 | 13:39:00 | Exceltec Cleaning | 73 | 1 | female toilet wc water flush | Nazri | PR2021/001493 | Closed
83 | 2021-10-07 | S | 20211007083 | 13:41:00 | Exceltec Cleaning | 73 | 1 | male toilet wc water flush | Nazri | PR2021/001494 | Closed
84 | 2021-10-07 | S | 202110000000 | 13:29:00 | EES | 73 | 1 | munch exit door kitchen corridor frame able hold shot bolt door pushed open locked | Nazri | PR2021/001495 | Closed
85 | 2021-10-07 | S | 20211007085 | 13:32:00 | HS | 73 | 4 | aircon working | Ravi | PR2021/001496 | Closed
86 | 2021-10-07 | S | 20211007086 | 14:14:00 | Exceltec Maintenance | 8 | 1 | tech space nos light tubes fused | Hisham | PR2021/001497 | Closed
87 | 2021-10-07 | S | 20211007087 | 15:03:00 | Exceltec Cleaning | 31 | 1 | fl breakdown | HITACHI | PR2021/001498 | Closed
88 | 2021-10-07 | S | 20211007088 | 16:42:00 | Exceltec Maintenance | 34 | 1 | light fitting dropped | Hisham | PR2021/001499 | Closed
89 | 2021-10-07 | S | 20211007089 | 16:45:00 | Exceltec Maintenance | 81 | 1 | lobby light tripped | Hisham | PR2021/001500 | Closed
90 | 2021-10-08 | S | 20211008090 | 08:23:00 | EES | 8 | 3 | help clean | Eddie | PR2021/001416 | Closed
91 | 2021-10-08 | S | 20211008091 | 08:36:00 | EES | 83 | 6 | able open door visitior coming need open urgently | Zul Faiz (Bobo) | PR2021/001417 | Closed
92 | 2021-10-08 | S | 20211008092 | 11:01:00 | HS | 81 | 2 | door close properly | Nazri | PR2021/001418 | Closed
93 | 2021-10-08 | S | 20211008093 | 13:00:00 | EES | 83 | 1 | lift outside call button faulty | Nazri | PR2021/001419 | Closed
94 | 2021-10-08 | S | 20211008094 | 14:32:00 | EES | 73 | 1 | lt corridor light fused | Hisham | PR2021/001420 | Closed
95 | 2021-10-08 | S | 20211008095 | 15:25:00 | Exceltec Maintenance | 35 | 1 | aircon show error code | Ravi | PR2021/001501 | Closed
96 | 2021-10-08 | S | 20211008096 | 18:17:00 | Exceltec Maintenance | 22 | 1 | planted box irrigation pipe broken | Duty Phone 2 |  | Closed
97 | 2021-10-08 | S | 20211009097 | 21:22:00 | Exceltec Maintenance | 35 | 1 | water tap leaking | Duty Phone 2 | PR2021/001502 | Closed
98 | 2021-10-09 | S | 20211009098 | 03:50:00 | Mainguard (Security) | 56 | 6 | staircase light fused | Duty Phone 2 |  | Closed
99 | 2021-10-09 | S | 20211009099 | 13:12:00 | Mainguard (Security) | 58 | 1 | carpark barrier incoming power supply | Duty Phone 2 |  | Closed
100 | 2021-10-09 | S | 20211009100 | 15:56:00 | Exceltec Cleaning | 1 | 1 | water supply high jet | Duty Phone 2 |  | Closed
101 | 2021-10-11 | S | 20211011101 | 06:51:00 | Exceltec Maintenance | 73 | 1 | let lift lobby water found coming ceiling | Nazri |  | Cancelled Closed
102 | 2021-10-11 | S | 20211011102 | 07:11:00 | Exceltec Cleaning | 1 | 6 | male toilet urinal water overflowing | Nazri |  | Closed
103 | 2021-10-11 | S | 20211011103 | 08:15:00 | CC Network | 8 | 3 | annoying sound coming server room | Computer Centre |  | Closed
104 | 2021-10-11 | S | 20211011104 | 08:41:00 | Exceltec Cleaning | 22 | 1 | lift call button working | KONE |  | Closed
105 | 2021-10-11 | S | 20211011105 | 10:15:00 | SOE | 5 | 3 | lift lobby rubbish bin cleared | NORA |  | Closed
106 | 2021-10-11 | S | 20211011106 | 10:17:00 | CC Network (Contractor) | 81 | 3 | power alarm activated server room | Computer Cetre |  | Closed
107 | 2021-10-11 | S | 20211011107 | 10:20:00 | LSCT | 83 | 3 | aircon cold | Ravi |  | Closed
108 | 2021-10-11 | S | 20211011108 | 14:00:00 | EES | 81 | 2 | lighting fused | Hisham |  | Closed
109 | 2021-10-11 | S | 20211011109 | 15:28:00 | FMS | 53 | 1 | pieces big tiles debonded barricade area | Nazri |  | Closed
110 | 2021-10-11 | S | 20211011110 | 17:35:00 | Moovita | 44 | 1 | female toilet opposite office second cubical light fused toilet bowl dirty first cubical maintenance weeks female toilet cubical lot cockroaches first cubical choked level toilet lot cockroach | Nora - Cleaning Azrul - Pest Nazri - Choked Hisham - Lighting | PR2021/001503 | Closed
111 | 2021-10-12 | S | 20211012111 | 08:26:00 | Exceltec Cleaning | 23 | 6 | female toilet ceiling leaking | Nazri |  | Closed
112 | 2021-10-12 | S | 20211012112 | 08:54:00 | CET Academy | 68 |  | projector working | Zul Faiz (Bobo) | PR2021/001504 | Closed
113 | 2021-10-12 | S | 20211012113 | 09:24:00 | Exceltec Maintenance | 82 | 1 | sheltered walkway light timer run | Nazri | PR2021/001506 | Closed
114 | 2021-10-12 | S | 20211012114 | 10:11:00 | Exceltec Maintenance | Behind Blk 23 | 1 | light | Nazri | PR2021/001507 | Closed
115 | 2021-10-12 | S | 20211012115 | 10:44:00 | Exceltec Maintenance | 52 | 1 | pieces debonded tiles | Nazri | PR2021/001508 | Closed
116 | 2021-10-12 | S | 20211012116 | 15:24:00 | HS | 18 | 4 | dispose cupboard falling apart | Azrul | PR2021/001509 | Closed
117 | 2021-10-12 | S | 20211012117 | 17:00:00 | SDO | 73 | 3 | music box aircon | Ravi | PR2021/001510 | Closed
118 | 2021-10-12 | S | 20211012118 | 17:07:00 | Exceltec Maintenance | 31 | 6 | light bulb flickering | Hisham | PR2021/001511 | Closed
119 | 2021-10-12 | S | 20211012119 | 19:34:00 | Exceltec Maintenance | 34 | 1 | signage light fused | Duty Phone 1 |  | Closed
120 | 2021-10-12 | S | 20211012120 | 19:35:00 | Exceltec Maintenance | Carpark | 1 | carpark signage light fused | Duty Phone 1 |  | Closed
121 | 2021-10-12 | S | 20211012121 | 19:36:00 | Exceltec Maintenance | 35 | 1 | signage light fused | Duty Phone 1 |  | Closed
122 | 2021-10-12 | S | 20211012122 | 19:44:00 | Exceltec Maintenance | Carpark M | 1 | signage light fused | Duty Phone 1 |  | Closed
123 | 2021-10-12 | S | 20211012123 | 19:44:00 | Exceltec Maintenance | Near blk 35 | 1 | walkway light fused | Duty Phone 1 |  | Closed
124 | 2021-10-12 | S | 20211012124 | 7:44 :00 | Exceltec Maintenance | 83 | 1 | driveway light fused | Duty Phone 1 |  | Closed
125 | 2021-10-12 | S | 20211012125 | 19:44:00 | Exceltec Maintenance |  | 1 | carpark signage light entryexit suss | Duty Phone 1 |  | Closed
126 | 2021-10-12 | S | 20211012126 | 19:44:00 | Exceltec Maintenance | 51 | 1 | infront makan place light bulb fused | Duty Phone 1 |  | Closed
127 | 2021-10-12 | S | 20211012127 | 19:48:00 | Exceltec Maintenance | 1 | 1 | tjunction infront main entrance light bulb fused | Duty Phone 1 |  | Closed
128 | 2021-10-13 | S | 20211013128 | 07:55:00 | Excetec Cleaning | 37 | 5 | male toilet power trip water supply | Effendi |  | Closed
129 | 2021-10-13 | S | 20211013129 | 08:13:00 |  | 73 | 1 | assist open door | Zul Faiz (Bobo) |  | Closed
130 | 2021-10-13 | S | 20211013130 | 08:29:00 | BA | 58 | 1 | lt assist open door | Zul Faiz (Bobo) |  | Closed
131 | 2021-10-13 | S | 20211013131 | 10:59:00 | Exceltec Maintenance | 56 | 6 | male toilet light tube fused | Effendi |  | Closed
132 | 2021-10-13 | S | 20211013132 | 11:09:00 | Exceltec Maintenance | 73 | 1 | leaking due pour near lift lobby | Effendi |  | Closed
133 | 2021-10-13 | S | 20211013133 | 11:18:00 | Exceltec Maintenance | 63 | 5 | leaking ceiling | Effendi |  | Closed
134 | 2021-10-13 | S | 20211013134 | 11:50:00 | Excetec Cleaning | 16 | 1 | female toilet two light tube fused | Effendi |  | Closed
135 | 2021-10-13 | S | 20211013135 | 11:58:00 | Exceltec Maintenance | 31 | 6 | light flickering | Effendi |  | Closed
136 | 2021-10-13 | S | 20211013136 | 11:58:00 | Exceltec Maintenance | 31 | 6 | light flickering | Effendi |  | Closed
137 | 2021-10-13 | S | 20211013137 | 12:11:00 | Exceltec Maintenance | 83 | 6 | outside lsct lab powerpoint socket faulty | Effendi |  | Closed
138 | 2021-10-13 | S | 20211013138 | 13:13:00 | BA | 58 | 1 | lt left projector screen come | Zul Faiz (Bobo) |  | Closed
139 | 2021-10-13 | S | 20211013139 | 13:28:00 | Moovita | 44 | 1 | meeting room light faulty workshops yellow lightings involved scaffolding able replaced appreciate pending item look youre available later date | Effendi |  | Closed
140 | 2021-10-13 | S | 20211013140 | 13:51:00 | Moovita | 44 | 1 | leaves drains surrounding office | Nora |  | Closed
141 | 2021-10-13 | S | 20211013141 | 14:37:00 | Excetec Cleaning | 58 | 3 | male toilet urinal ball dont water | Effendi |  | Closed
142 | 2021-10-13 | S | 20211013142 | 14:51:00 | Main Guard (Security) | 27 | 3 | male toilet wall mounted fan faulty | Effendi |  | Closed
143 | 2021-10-13 | S | 20211013143 | 14:56:00 | Main Guard (Security) | 73 | 4 | external corridors lighted | Effendi |  | Closed
144 | 2021-10-13 | S | 20211013144 | 14:56:00 | Main Guard (Security) | Between 73 | 1 | outdoor soccer courts area pathways lighted | Effendi |  | Closed
145 | 2021-10-13 | S | 20211013145 | 14:56:00 | Main Guard (Security) | 20 & 22 | 1 | external corridors lighted | Effendi |  | Closed
146 | 2021-10-13 | S | 20211013146 | 15:20:00 | Moovita | 44 | 1 | female toilet dustbin | Nora & Eddie |  | Closed
147 | 2021-10-13 | S | 20211013147 | 15:49:00 | EES | 51 | 1 | male toilet urinal overflow | Effendi |  | Closed
148 | 2021-10-14 | S | 20211014148 | 00:10:00 | Main Guard (Security) | Capark G | 1 | street light power tripped | Effendi |  | Closed
149 | 2021-10-14 | S | 20211014149 | 00:30:00 | Main Guard (Security) | Carpark K | 1 | street light power tripped beside sim | Effendi |  | Closed
150 | 2021-10-14 | S | 20211014150 | 00:52:00 | Main Guard (Security) | Near blk 1 | 1 | junction street light power tripped | Effendi |  | Closed
151 | 2021-10-14 | S | 20211014151 | 01:02:00 | Main Guard (Security) | 53 | 6 | fms office light switched | Effendi |  | Closed
152 | 2021-10-14 | S | 20211014152 | 02:00:00 | Main Guard (Security) | 56 | 4 | staircase light tube fused | Effendi |  | Closed
153 | 2021-10-14 | S | 20211014153 | 03:00:00 | Main Guard (Security) | 56 | 6 | staircase light tube fused | Effendi |  | Closed
154 | 2021-10-14 | S | 20211014154 | 03:30:00 | Main Guard (Security) | 56 | 5 | staircase light tube fused | Effendi | PR2021/001580 | Closed
155 | 2021-10-14 | S | 20211014155 | 08:17:00 | HS | 81 | 5 | power trip | Effendi | PR2021/001581 | Closed
156 | 2021-10-14 | S | 20211014156 | 08:17:00 | HS | 81 | 6 | light flickering | Effendi | PR2021/001582 | Closed
157 | 2021-10-14 | S | 20211014157 | 08:35:00 | :LSCT | 80 | 8 | light fused | Effendi | PR2021/001583 | Closed
158 | 2021-10-14 | S | 20211014158 | 09:06:00 | LSCT | 80 | 8 | aircon working | Ravi | PR2021/001584 | Closed
159 | 2021-10-14 | S | 20211014159 | 09:11:00 | EES | 81 | 1 | light | Effendi | PR2021/001585 | Closed
160 | 2021-10-14 | S | 20211014160 | 09:18:00 | LSCT | 80 | 2 | aircon | Ravi | PR2021/001586 | Closed
161 | 2021-10-14 | S | 20211014161 | 09:44:00 | LSCT | 83 | 5 | office telephone faulty | Vincent (EES) | PR2021/001587 | Closed
162 | 2021-10-14 | S | 20211014162 | 11:17:00 | Library | 1 | 2 | switched aircon | Ravi | PR2021/001588 | Closed
163 | 2021-10-14 | S | 20211014163 | 11:46:00 | EES | 35 | 1 | water tap leaking | Effendi | PR2021/001589 | Closed
164 | 2021-10-14 | S | 20211014164 | 11:56:00 | Exceltec Cleaning | 81 | 2 | female toilet tap water supply | Effendi | PR2021/001590 | Closed
165 | 2021-10-14 | S | 20211014165 | 12:49:00 | Library | 1 | 5 | mickey mouse emergency light turned need switch look francis | Effendi | PR2021/001591 | Closed
166 | 2021-10-14 | S | 20211014166 | 13:00:00 | LSCT | 80 | 8 | animal room aircon leaking | Ravi | PR2021/001592 | Closed
167 | 2021-10-14 | S | 20211014167 | 14:49:00 | Exceltec Cleaning | 51 | 1 | handicap toilet light bulb fused | Effendi | PR2021/001593 | Closed
168 | 2021-10-14 | S | 20211014168 | 14:50:00 | Exceltec Maintenance | 51 | 1 | female toilet light bulb fused | Effendi | PR2021/001594 | Closed
169 | 2021-10-14 | S | 20211014169 | 14:51:00 |  | 51 | 7 | sound coming speaker | Zul Faiz (Bobo) | PR2021/001595 | Closed
170 | 2021-10-14 | S | 20211014170 | 15:00:00 | Exceltec Maintenance | 1 | 1 | light bulb fused | Effendi | PR2021/001596 | Closed
171 | 2021-10-14 | S | 20211014171 | 15:05:00 | Cook at Makan Place | 51 | 1 | toilet never wash weeks | Eddie & Nora | PR2021/001597 | Closed
172 | 2021-10-14 | S | 20211014172 | 15:09:00 | Exceltec Cleaning | 51 | 1 | male toilet urinal choke | Effendi | PR2021/001598 | Closed
173 | 2021-10-14 | S | 20211014173 | 15:10:00 | Exceltec Cleaning | 51 | 1 | male toilet tap water supply | Effendi | PR2021/001599 | Closed
174 | 2021-10-14 | S | 20211014174 | 15:15:00 | Exceltec Cleaning | 1 | 4 | male toilet urinal overflow | Effendi | PR2021/001600 | Closed
175 | 2021-10-14 | S | 20211014175 | 15:29:00 | EES | 81 | 2 | lighting fused look user | Effendi | PR2021/001601 | Closed
176 | 2021-10-14 | S | 20211014176 | 15:31:00 | Exceltec Maintenance | 31 | 6 | projector electrical supply | Effendi | PR2021/001602 | Closed
177 | 2021-10-14 | S | 20211014177 | 15:44:00 | LIBRARY | 1 | 2 | circulation office beside double return station nos ceiling medium light blown | Effendi | PR2021/001603 | Closed
178 | 2021-10-14 | S | 20211014178 | 15:44:00 | LIBRARY | 1 | 5 | beside room nos ceiling medium light blown | Effendi | PR2021/001604 | Closed
179 | 2021-10-14 | S | 20211014179 | 15:44:00 | LIBRARY | 1 | 5 | behind shelf ceiling long light blown | Effendi | PR2021/001605 | Closed
180 | 2021-10-14 | S | 20211014180 | 15:44:00 | LIBRARY | 1 | 2 | lifestyles fiction shelf opposite internet cafe bottom light blown | Effendi | PR2021/001518 | Closed
181 | 2021-10-14 | S | 20211014181 | 16:56:00 | Moovita | 44 | 1 | ceiling board missing | Effendi | PR2021/001606 | Closed
182 | 2021-10-15 | S | 20211015182 | 09:05:00 | Main Guard (Security) | 1 | 1 | infront top parking carpark light still | Effendi | PR2021/001607 | Closed
183 | 2021-10-15 | S | 20211015183 | 09:15:00 | BA | 72 | 6 | ceilings light | Effendi | PR2021/001608 | Closed
184 | 2021-10-15 | S | 20211015184 | 09:20:00 | LIBRARY | 1 | 1 | level new title corner power trip level aircon cold | Effendi | PR2021/001609 | Closed
185 | 2021-10-15 | S | 20211015185 | 09:40:00 | HS | 81 | 5 | door handle loose door handle broken door handle functioning properly | Effendi | PR2021/001610 | Closed
186 | 2021-10-15 | S | 20211015186 | 10:00:00 | Exceltec Maintenance | 31 | 6 | power tripped | Karthik |  | Closed
187 | 2021-10-15 | S | 20211015187 | 10:25:00 | Exceltec Maintenance | 58 | 3 | ltb prejector go | Zul Faiz (BOBO) |  | Instructed by Estate Azhar to leave the screen down Closed
188 | 2021-10-15 | S | 20211015188 | 10:48:00 | Exceltec Maintenance | 31 | 6 | power tripped | Effendi |  | Closed
189 | 2021-10-16 | S | 20211016189 | 00:05:00 | Main Guard (Security) | 23 | 3 | light swiched | Effendi | PR2021/001631 | Closed
190 | 2021-10-16 | S | 20211016190 | 00:15:00 | Main Guard (Security) | 35 | 1 | light switched | Effendi | PR2021/001632 | Closed
191 | 2021-10-16 | S | 20211016191 | 00:30:00 | Main Guard (Security) | 56 | 6 | staircase light fused | Effendi | PR2021/001633 | Closed
192 | 2021-10-16 | S | 20211016192 | 00:45:00 | Main Guard (Security) | 68 | 1 | study area light flickering | Effendi | PR2021/001634 | Closed
193 | 2021-10-16 | S | 20211016193 | 01:00:00 | Main Guard (Security) | Carpark G | 1 | street light power tripped | Effendi | PR2021/001635 | Closed
194 | 2021-10-16 | S | 20211016194 | 01:30:00 | Main Guard (Security) | 73 | 3 | next artbox ceiling board dropped | Effendi | PR2021/001636 | Closed
195 | 2021-10-16 | S | 20211016195 | 02:00:00 | Main Guard (Security) | 34 | 1 | sewer drain suspect pipe burst main rainpipe sight water sector got non ending fresh water flowing | Effendi | PR2021/001637 | Closed
196 | 2021-10-16 | S | 20211016196 | 02:30:00 | Main Guard (Security) | 40 | 2 | near nos light flickering | Effendi | PR2021/001638 | Closed
197 | 2021-10-16 | S | 20211016197 | 03:00:00 | Main Guard (Security) | 72 | 1 | near nos ceiling emergency light power power coonected | Effendi | PR2021/001639 | Closed
198 | 2021-10-16 | S | 20211016198 | 03:30:00 | Main Guard (Security) | 72 | 1 | near ceiling light power transformer dangling outside lighting | Effendi | PR2021/001640 | Closed
199 | 2021-10-16 | S | 20211016199 | 04:00:00 | Exceltec Maintenance | 68 | 1 | near sprinkler valve nos ceiling light faulty | Effendi | PR2021/001641 | Closed
200 | 2021-10-18 | R | 20211018200 | 07:11:00 | Exceltec Maintenance | 51 | 7 | aircon | Ravi | PR2021/001642 | Closed
201 | 2021-10-18 | R | 20211018201 | 07:44:00 | Exceltec Maintenance | 34 | 6 | whole level aircon | Ravi | PR2021/001643 | Closed
202 | 2021-10-18 | R | 20211018202 | 08:16:00 | Exceltec Maintenance | 8 | 6 | corridor lights | Effendi | PR2021/001644 | Closed
203 | 2021-10-18 | R | 20211018203 | 08:59:00 | IS | 51 | 7 | aircon | Ravi | PR2021/001645 | Closed
204 | 2021-10-18 | R | 20211018204 | 09:02:00 | LSCT | 80 | 4 | aircon | Ravi | PR2021/001646 | Closed
205 | 2021-10-18 | R | 20211018205 | 09:09:00 | HS | 51 | 6 | aircon | Ravi | PR2021/001647 | Closed
206 | 2021-10-18 | R | 20211018206 | 09:17:00 | LSCT | 83 | 8 | officelab aircon water dripping | Ravi | PR2021/001648 | Closed
207 | 2021-10-18 | R | 20211018207 | 09:21:00 | HS | 51 | 6 | unable connect wireless screen | Hanafi | PR2021/001649 | Closed
208 | 2021-10-18 | R | 20211018208 | 09:25:00 | Exceltec Maintenance | 73 | 1 | power tripped | Effendi | PR2021/001650 | Closed
209 | 2021-10-18 | R | 20211018209 | 09:26:00 | DE | 50 | 6 | unable log tv | Hanafi | PR2021/001651 | Closed
210 | 2021-10-18 | R | 20211018210 | 09:32:00 | IS | 51 | 1 | room messy dispose training material boxes floor | Eddie | PR2021/001652 | Closed
211 | 2021-10-18 | R | 20211018211 | 09:37:00 | LIBRARY | 1 | 5 | turn emergency light opposite emergency door lift lobby | Effendi | PR2021/001653 | Closed
212 | 2021-10-18 | R | 20211018212 | 09:39:00 | EES | 72 | 7/8 | lift lobby light bulb fused | Effendi | PR2021/001654 | Closed
213 | 2021-10-18 | R | 20211018213 | 09:39:00 | Exceltec Maintenance | 72 | 5 | false nos ceiling board broken | Effendi |  | Closed
214 | 2021-10-18 | R | 20211018214 | 09:43:00 | LIBRARY | 1 | 2 | circulation office compactos ceiling light fused | Effendi | PR2021/001655 | Closed
215 | 2021-10-18 | R | 20211018215 | 09:44:00 | Exceltec Cleaning | 18 | 4 | female toilet light flickering | Effendi | PR2021/001656 | Closed
216 | 2021-10-18 | R | 20211018216 | 09:45:00 | LIBRARY | 1 | 5 | beside shelf ceiling light fused | Effendi | PR2021/001657 | Closed
217 | 2021-10-18 | R | 20211018217 | 09:47:00 | DE | 50 | 6 | turn aircon | Ravi | PR2021/001658 | Closed
218 | 2021-10-18 | R | 20211018218 | 09:50:00 | LIBRARY | 1 | 1 | opposite shelf nos light fused | Effendi | PR2021/001659 | Closed
219 | 2021-10-18 | R | 20211018219 | 09:54:00 | LIBRARY | 1 | 1 | near hobbies collection round spotlight handle broken | Efffendi | PR2021/001660 | Closed
220 | 2021-10-18 | R | 20211018220 | 10:00:00 | Exceltec Maintenance | 4 | 1 | sand need cleared drainage | Eddie | PR2021/001661 | Closed
221 | 2021-10-18 | R | 20211018221 | 10:18:00 | IS | 51 | 7 | aircon leaking | Ravi | PR2021/001663 | Closed
222 | 2021-10-18 | R | 20211018222 | 10:18:00 | IS | 51 | 1 | replace broken chair | Azrul | PR2021/001662 | Closed
223 | 2021-10-18 | R | 20211018223 | 10:20:00 | IS | 56 | 4 | sound coming projector | Hanafi | PR2021/001664 | Closed
224 | 2021-10-18 | R | 20211018224 | 10:31:00 | DE | 34 | 6 | aircon working | Ravi | PR2021/001665 | Closed
225 | 2021-10-18 | R | 20211018225 | 10:38:00 | Exceltec Maintenance | 22 | 1 | floor trap choked | Eddie | PR2021/001666 | Closed
226 | 2021-10-18 | R | 20211018226 | 10:55:00 | Exceltec Cleaning | 23 | 1 | outside studio hold need plastering | Effendi | PR2021/001667 | Closed
227 | 2021-10-18 | R | 20211018227 | 10:57:00 | DE | 34 | 6 | projector connection | Hanafi | PR2021/001668 | Closed
228 | 2021-10-18 | R | 20211018228 | 11:05:00 | Exceltec Cleaning | 56 | 1 | male toilet light flickering | Effendi | PR2021/001669 | Closed
229 | 2021-10-18 | R | 20211018229 | 11:17:00 |  | 81 | 6 | staffroom light flickering | Effendi | PR2021/001670 | Closed
230 | 2021-10-18 | R | 20211018230 | 11:17:00 | HS | 50 | 6 | aircon working | Ravi | PR2021/001671 | Closed
231 | 2021-10-18 | R | 20211018231 | 11:25:00 | LIBRARY | 1 | 5 | mickey mouse power pack cut need replace new set | Adam | PR2021/001673 | Closed
232 | 2021-10-18 | R | 20211018232 | 11:28:00 | LSCT | 50 | 6 | assist set av connection laptop oct wednesday | Hanafi | PR2021/001674 | Closed
233 | 2021-10-18 | R | 20211018233 | 11:35:00 | Exceltec Maintenance | 46 | 1 | window glass cracked | Adam | PR2021/001675 | Closed
234 | 2021-10-18 | R | 20211018234 | 11:58:00 |  | 81 | 1 | ceiling lights falling | Effendi | PR2021/001676 | Closed
235 | 2021-10-18 | R | 20211018235 | 11:59:00 |  | 58 | 4 | aircon leaking room smelly | Ravi | PR2021/001677 | Closed
236 | 2021-10-18 | R | 20211018236 | 00:05:00 |  | 51 | 7 | aircon working | Ravi | PR2021/001678 | Closed
237 | 2021-10-18 | R | 20211018237 | 12:11:00 |  | 51 | 7 | aircon cold | Ravi | PR2021/001679 | Closed
238 | 2021-10-18 | R | 20211018238 | 12:20:00 |  | 51 | 6 | projector working | Hanafi | PR2021/001680 | Closed. transfered from #06-02
239 | 2021-10-18 | R | 20211018239 | 12:50:00 | SSVC | 1 | 1 | aircon | Ravi | PR2021/001681 | Closed
240 | 2021-10-18 | R | 20211018240 | 12:52:00 | Exceltec Cleaning | 22 | 1 | outside call button press | KONE | PR2021/001682 | Closed
241 | 2021-10-18 | R | 20211018241 | 13:35:00 | Exceltec Cleaning | 58 | 1 | male toilet nos light bulb fused | Effendi | PR2021/001683 | Closed
242 | 2021-10-18 | R | 20211018242 | 13:42:00 | Exceltec Maintenance | 51 | 2 | door handle loose | Effendi | PR2021/001684 | Closed
243 | 2021-10-18 | R | 20211018243 | 13:59:00 | Exceltec Maintenance | 51 | 1 | male toilet cubical door faulty | Effendi | PR2021/001685 | Closed
244 | 2021-10-18 | R | 20211018244 | 14:00:00 | Exceltec Maintenance | 51 | 1 | male toilet wall mounted fan faulty | Effendi | PR2021/001686 | Closed
245 | 2021-10-18 | R | 20211018245 | 14:05:00 | HMS | 51 | 7 | projector screen clear | Hanafi | PR2021/001687 | Closed
246 | 2021-10-18 | R | 20211018246 | 14:21:00 | LIBRARY | 1 | 5 | lights fused | Effendi | PR2021/001688 | Closed
247 | 2021-10-18 | R | 20211018247 | 14:49:00 |  | 51 | 4 | require support connect laptop projector | Hanafi | PR2021/001689 | Closed
248 | 2021-10-18 | R | 20211018248 | 15:18:00 | IT | 72 | 3 | connect projector | Hanafi |  | Closed
249 | 2021-10-18 | R | 20211018249 | 15:34:00 | Exceltec Maintenance | 56 | 2 | male toilet motion sensor faulty | Effendi |  | Closed
250 | 2021-10-18 | R | 20211018250 | 16:16:00 | Exceltec Maintenance | 72 | 1 | female toilet light tube fused | Effendi |  | Closed
251 | 2021-10-18 | R | 20211018251 | 16:32:00 | Exceltec Maintenance | 23 | 4 | door closer faulty look staff | Effendi |  | Closed
252 | 2021-10-18 | R | 20211018252 | 17:23:00 |  | 53 | 5 | female toilet motion sensor faulty toilet dirty | Effendi & Eddie |  | Closed
253 | 2021-10-18 | R | 20211018253 | 17:59:00 |  | 34 | 4 | aircon working | Ravi |  | Closed
254 | 2021-10-18 | R | 20211018254 | 18:04:00 | Main guard (security) | 22 | 1 | sports hall fan working | Effendi |  | Closed
255 | 2021-10-18 | R | 20211018255 | 18:07:00 |  | 51 | 6 | projector turn long | Hanafi |  | Closed
256 | 2021-10-19 | S | 20211019256 | 07:05:00 |  | 51 | 7 | projector working | Faisal |  | Closed
257 | 2021-10-19 | S | 20211019257 | 08:00:00 |  | 51 | 7 | micophone working | Faisal |  | Closed
258 | 2021-10-19 | S | 20211019258 | 08:01:00 |  | 76 |  | lt aircon working | Ravi |  | Closed
259 | 2021-10-19 | S | 20211019259 | 08:06:00 |  | 54 | 2 | aircon | Ravi |  | Closed
260 | 2021-10-19 | S | 20211019260 | 08:07:00 | Exceltec Maintenance | 47 | 5 & 6 | lvl male female toilet water supply | Effendi |  | Closed
261 | 2021-10-19 | S | 20211019261 | 08:36:00 | HMS | 35 | 1 | projector working | Faisal |  | Closed
262 | 2021-10-19 | S | 20211019262 | 08:49:00 | Main guard (Security) | 73 | 1 | female toilet second cubicle wc water flow non stop | Effendi |  | Closed
263 | 2021-10-19 | S | 20211019263 | 09:09:00 | Exceltec Maintenance | 35 | 1 | newly installed working stuffy | Ravi |  | Closed
264 | 2021-10-19 | S | 20211019264 | 09:27:00 | EES | 56 | 5 | door handle loose | Effendi |  | Closed
265 | 2021-10-19 | S | 20211019265 | 09:27:00 | EES | 56 | 5 | broken chair | Effendi |  | Closed
266 | 2021-10-19 | S | 20211019266 | 09:27:00 | EES | 56 | 5 | water seepage window | Effendi |  | Closed
267 | 2021-10-19 | S | 20211019267 | 09:27:00 | EES | 56 | 5 | ceiling board open | Effendi |  | Closed
268 | 2021-10-19 | S | 20211019268 | 09:27:00 | EES | 56 | 5 | door slammed loudly need tighened door closer | Effendi |  | Closed
269 | 2021-10-19 | S | 20211019269 | 09:27:00 | EES | 56 | 5 | door unable fully close | Effendi |  | Closed
270 | 2021-10-19 | S | 20211019270 | 09:31:00 | Exceltec Cleaning | 1 | 1 | female toilet water tap broken | Effendi |  | Closed
271 | 19 Oct 0201 | S | 20211019271 | 09:44:00 | Moovita | 44 | 1 | toilet air fresherner faulty water pressure low blk male toilet urinal button stuck | Effendi |  | Closed
272 | 2021-10-19 | S | 20211019272 | 09:54:00 | LSCT | 83 | 8 | door unable unlock | Effendi |  | Closed
273 | 2021-10-19 | S | 20211019273 | 09:54:00 | HMS | 51 | 7 | aircon working | Ravi |  | Closed
274 | 2021-10-19 | S | 2021101974 | 10:08:00 | IS | 56 | 3 | audio issue speaker turn | Faisal |  | Closed
275 | 2021-10-19 | S | 20211019275 | 10:14:00 | EES | 16 | 1 | patch drain curb | Effendi |  | Closed
276 | 2021-10-19 | S | 20211019276 | 10:27:00 |  | 23 | 2 | computer floor tripping hazard | Effendi |  | Closed
277 | 2021-10-19 | S | 20211019277 | 10:28:00 | Exceltec Cleaning | 83 | 5 | female toilet cubical flush | Effendi |  | Closed
278 | 2021-10-19 | S | 20211019278 | 10:49:00 | FMS | 52 | 8 | aircon | Ravi |  | Closed
279 | 2021-10-19 | S | 20211019279 | 11:01:00 | SOE | 23 | 1 | power tripped | Effendi |  | Closed
280 | 2021-10-19 | S | 20211019280 | 11:18:00 | HS | 81 | 5 | aircon cold | Ravi |  | Closed
281 | 2021-10-19 | S | 20211019281 | 11:28:00 | EES | 18 | 1 | walkway plank came | Effendi |  | Closed
282 | 2021-10-19 | S | 20211019282 | 11:34:00 | Exceltec Maintenance | 56 | 3 | corridor skirting fell | Effendi |  | Closed
283 | 2021-10-19 | S | 20211019283 | 12:18:00 | Exceltec Maintenance | 23 | 2 | door close properly | Shamsor |  | Closed
284 | 2021-10-19 | S | 20211019284 | 12:36:00 | IS | 31 | 6 | user screen laptop projector | Faisal |  | Closed
285 | 2021-10-19 | S | 20211019285 | 12:52:00 | IS | 51 | 7 | projector working | Faisal |  | Projector needs to be replaced Replaced. Closed
286 | 2021-10-19 | S | 20211019286 | 12:53:00 | EES | 53 | 1 | conference room light flickering | Effendi |  | Closed
287 | 2021-10-19 | S | 20211019287 | 12:55:00 | HMS | 51 | 7 | user never use lg tv need help set | Faisal |  | Closed
288 | 2021-10-19 | S | 20211019288 | 14:07:00 | IS | 56 | 4 | computer project projector | Faisal |  | Closed
289 | 2021-10-19 | S | 20211019289 | 14:14:00 | SDO | 73 | 3 | switch aircon | Ravi |  | Closed
290 | 2021-10-19 | S | 20211019290 | 14:47:00 | FMS | 51 | 6 | projector working | Faisal |  | Closed
291 | 2021-10-19 | S | 20211019291 | 15:00:00 | Exceltec Maintenance | 1 | 2 | switch faulty | Effendi |  | Closed
292 | 2021-10-19 | S | 20211019292 | 15:46:00 | FMS | 51 | 6 | projector working | Faisal |  | Estates Gopal was informed that the projector is in a bad condition and to be replaced. user change class to #06-12 (Replaced & Closed)
293 | 2021-10-19 | S | 20211019293 | 21:51:00 | Exceltec Maintenance | 51 | 1 | nos light bulb fused | EFFENDI |  | Closed
294 | 2021-10-20 | S | 20211020294 | 07:50:00 | HMS | 53 | 3 | hdmi cable connect laptop | Faisal / Hanafi |  | Closed
295 | 2021-10-20 | S | 20211020295 | 08:18:00 | HMS | 57 | 7 | user connect laptop smart printer | CC |  | Case no.: CS0119784 Closed
296 | 2021-10-20 | S | 20211020296 | 08:42:00 | HMS | 51 | 6 | projector lines | Faisal |  | Closed
297 | 2021-10-20 | S | 20211020297 | 08:43:00 | HSS | 82 | 2 | aircon cold | Ravi |  | Closed
298 | 2021-10-20 | S | 20211020298 | 08:49:00 | IS | 72 | 3 |  | Ravi |  | Closed
299 | 2021-10-20 | S | 20211020299 | 08:56:00 | FMS | 72 | 3 | projector switched | Faisal |  | Closed
300 | 2021-10-20 | S | 20211020300 | 09:02:00 | SOE | 6 | 6 | male toilet water supply | Effendi |  | Closed
301 | 2021-10-20 | S | 20211020301 | 09:09:00 | Exceltec Maintenance | 18 | 1 | tiles popped | Effendi |  | Closed
302 | 2021-10-20 | S | 20211020302 | 09:10:00 | IS | 51 | 7 | projector working aircon switched | Faisal & Ravi |  | Closed Projector Replaced
303 | 2021-10-20 | S | 20211020303 | 09:14:00 | IS | 51 | 6 | projector keeps flashing | Faisal |  | Closed
304 | 2021-10-20 | S | 20211020304 | 09:36:00 | SOE | 16 | 3 | whole level aircon | Ravi |  | Closed
305 | 2021-10-20 | S | 20211020305 | 09:38:00 | EES | 73 | 1 | female toilet cubical flushing non stop | Effendi |  | Closed
306 | 2021-10-20 | S | 20211020306 | 09:47:00 | LSCT | 50 | 6 | aircon working | Ravi |  | Closed
307 | 2021-10-20 | S | 20211020307 | 10:18:00 | HMS | 51 | 7 | cable plug laptop | Faisal |  | Closed
308 | 2021-10-20 | S | 20211020308 | 10:27:00 | Exceltec Maintenance | 6 | 1 | light bulb flickering whole stretch light lighted | Effendi |  | Closed
309 | 2021-10-20 | S | 20211020309 | 10:58:00 | FMS | 51 | 7 | help connect laptop projector | Faisal |  | Closed
310 | 2021-10-20 | S | 20211020310 | 11:06:00 | SOE | 37 | 6 | common corridor female toilet lights bulb fused | Effendi |  | Closed
311 | 2021-10-20 | S | 20211020311 | 11:24:00 | Exceltec Maintenance | 1 | 3 | light diffuser dangling | Effendi |  | Closed
312 | 2021-10-20 | S | 20211020312 | 11:52:00 | IS | 56 | 6 | user know use projector | Faisal |  | Closed
313 | 2021-10-20 | S | 20211020313 | 11:52:00 | HMS | 51 | 7 | aircon working | Ravi |  | Closed
314 | 2021-10-20 | S | 20211020314 | 11:53:00 | IS | 51 | 7 | aircon leaking | Ravi |  | Closed
315 | 2021-10-20 | S | 20211020315 | 11:55:00 | IS | 35 | 1 | hdmi cable working | Faisal |  | Closed
316 | 2021-10-20 | S | 20211020316 | 12:31:00 | SOE | 5 | 4 | water cooler water coming | Effendi |  | Closed
317 | 2021-10-20 | S | 20211020317 | 14:00:00 | IS | 51 | 6 | projector flickering | Faisal |  | Closed
318 | 2021-10-20 | S | 20211020318 | 14:11:00 | IS | 51 | 6 | issue connecting projector | Faisal |  | Closed
319 | 2021-10-20 | S | 20211020319 | 14:13:00 | Exceltec Cleaning | 58 | 3 | male toilet wc choked | Effendi |  | Closed
320 | 2021-10-20 | S | 20211020320 | 14:34:00 | Exceltec Maintenance | 72 | 2 | space nos hanging lights fused | Effendi |  | Closed
321 | 2021-10-20 | S | 20211020321 | 15:00:00 | FMS | 72 | 4 | aircon | Ravi |  | Closed
322 | 2021-10-20 | S | 20211020322 | 15:16:00 | Exceltec Cleaning | 58 | 5 | male toilet nos light bulb fused female toilet nos light bulb fused | Effendi |  | Closed
323 | 2021-10-20 | S | 20211020323 | 15:52:00 | LSCT | 77 |  | aircon working | Ravi |  | Closed
324 | 2021-10-20 | S | 20211020324 | 15:58:00 | SOE | 8 | 4 | male toilet last cubical bidet spray leaking | Effendi |  | Closed
325 | 2021-10-20 | S | 20211020325 | 16:02:00 | EES | 34 | 4 | switch aircon till | Ravi |  | Closed
326 | 2021-10-20 | S | 20211020326 | 16:25:00 | EES | 18 | 1 | switch lights need bypass | Effendi |  | Closed
327 | 2021-10-20 | S | 20211020327 | 17:11:00 | Library | 1 | 3/4/5 | fix new ceiling board duty tech walk around see ceiling boards requires replacement | Effendi |  | Closed
328 | 2021-10-20 | S | 20211020328 | 18:04:00 | Library | 1 | 2 | wci collection opposite potted plant spotlight fused | Effendi |  | Closed
329 | 2021-10-20 | S | 20211020329 | 19:00:00 | EES | 56 | 2 & 3 | level staircase nos light tube fused | Effendi |  | Closed
330 | 2021-10-20 | S | 20211020330 | 19:11:00 | EES | 56 | 2 | level staircase nos light tube fused | Effendi |  | Closed
331 | 2021-10-20 | S | 20211020331 | 19:15:00 | EES | 72 | 2 | space ceiling leaking | Karthika |  | Closed
332 | 2021-10-20 | S | 20211020332 | 21:14:00 |  | 70 (Student Plaza) | 1 | fire alarm panel showing fault sounder fault | Ravi |  | Closed
333 | 2021-10-21 | S | 20211021333 | 06:38:00 | Exceltec Maintenance | 51 | 1 | ceiling light tube fused | Effendi |  | Closed
334 | 2021-10-21 | S | 20211021334 | 07:29:00 | Exceltec Maintenance | 81 | 2 | ceiling paint tearing | Effendi |  | Closed
335 | 2021-10-21 | S | 20212021335 | 07:59:00 | IS | 31 | 6 | hdmi cable giving problem | Faisal & CC |  | Case no.: CS0120226 Closed
336 | 2021-10-21 | S | 20211021336 | 08:11:00 | Exceltec Maintenance | 47 | 5/6 | female toilet light tube fused | Shamsor |  | Closed
337 | 2021-10-21 | S | 20211021337 | 08:12:00 | IS | 56 | 3 | curtain blinds fell help try fix back | Shamsor |  | Closed
338 | 2021-10-21 | S | 20211021338 | 08:15:00 | HMS | 51 | 6 | aircon hot | Ravi | PR2021/001786 | Closed
339 | 2021-10-21 | S | 20212021339 | 08:17:00 | IS | 51 | 7 | aircon hot | Ravi |  | Closed
340 | 2021-10-21 | S | 20211021340 | 08:30:00 | TSB | 58 | 2 | corridor light unable switch find switch door unable open key lock | Shamsor |  | Closed
341 | 2021-10-21 | S | 20211021341 | 09:03:00 |  | 51 | 1 | wall mounted fan faulty | Shamsor |  | Closed
342 | 2021-10-21 | S | 20211021342 | 09:12:00 | EES | 82 | 2 | aircon cold | Ravi |  | Closed
343 | 2021-10-21 | S | 20211021343 | 09:19:00 | DE | 34 | 6 | laptop project screen | Faisal |  | Closed
344 | 2021-10-21 | S | 20211021344 | 09:34:00 | SOE | 16 | 3 | outside room aircon hot male toilet urinal non stop flushing | Ravi & Shamsor |  | Closed
345 | 2021-10-21 | S | 20211021345 | 10:03:00 | ICT | 31 | 6 | light bulb flickering projector working | Shamsor & Faisal |  | Closed
346 | 2021-10-21 | S | 20211021346 | 10:22:00 | HMS | 52 | 6 | whole blk water supply | Shamsor |  | Closed
347 | 2021-10-21 | S | 20211021347 | 10:30:00 | HMS | 52 | 6 | light tube fused | Shamsor |  | Closed
348 | 2021-10-21 | S | 20211021348 | 11:40:00 | IS | 51 | 6 | need change hdmi cable | Faisal |  | Closed
349 | 2021-10-21 | S | 20211021349 | 12:01:00 | HMS | 58 | 1 | projector signal | Faisal |  | Closed
350 | 2021-10-21 | S | 20211021350 | 12:17:00 | IS | 51 | 7 | aircon switch | Ravi |  | Closed
351 | 2021-10-21 | S | 20211021351 | 12:57:00 | IS | 58 | 3 | aircon producing loud sound | Ravi |  | Closed
352 | 2021-10-21 | S | 20211021352 | 13:10:00 | IS | 51 | 7 | aircon remote controller working | Ravi |  | Closed
353 | 2021-10-21 | S | 20211021353 | 13:15:00 | IS | 51 | 7 | connect projector | Faisal |  | Closed
354 | 2021-10-21 | S | 20211021354 | 13:22:00 | COIEWT | 39 | 1 | cleaners cleared rubbish past weeks | Eddie & Nora |  | Closed
355 | 2021-10-21 | S | 20211021355 | 13:40:00 | TSB | 58 | 2 | wall tiles coming | Shamsor |  | Closed
356 | 2021-10-21 | S | 20211021356 | 13:45:00 | CC | 58 | 3 | cc network aircon alarm triggered withdraw key enter room | Ravi |  | Closed
357 | 2021-10-21 | S | 20211021357 | 14:40:00 | Exceltec Maintenance | 31 | 3 | male toilet floor trap broken | Shamsor |  | Closed
358 | 2021-10-21 | S | 20211021358 | 15:18:00 | ICT |  | 6 | requested extension cord students charge laptop | EES |  | Closed
359 | 2021-10-21 | S | 20211021359 | 15:25:00 | SOE | 5 | 4 | aircon noisy even switched | Ravi |  | Closed
360 | 2021-10-21 | S | 20211021360 | 16:00:00 | ICT | 31 | 7 | em lock shows system | Shamsor |  | Closed
361 | 2021-10-21 | S | 20211021361 | 16:45:00 | HMS | 54 | 4 | em lock faulty ppl access freely | Shamsor |  | Closed
362 | 2021-10-21 | S | 20211021362 | 17:24:00 | Exceltec Maintenance | 58 | 3/6 | lvl male toilet light bulb fused female toilet light bulb fused lvl female toilet light bulb fused | Shamsor |  | Closed
363 | 2021-10-21 | S | 20211021363 | 18:35:00 |  | 50 | 5 | requires help set smart classroom | Faisal |  | Closed
364 | 2021-10-22 | S | 20211022364 | 08:00:00 | HS | 81 | 2 | cleaning done since monday | Eddie & Nora |  | Closed
365 | 2021-10-22 | S | 20211022365 | 08:20:00 | FMS | 72 | 3 | access card show expired | EES |  | User to go HR for replacement of access card
366 | 2021-10-22 | S | 20211022366 | 08:38:00 | Exceltec Cleaning | 58 | 3 | female toilet wc non stop flushing | Shamsor |  | Closed
367 | 2021-10-22 | S | 20211022367 | 08:39:00 | Exceltec Maintenance | 73 | 1 | male toilet nos light bulb fused patch water mark | Shamsor |  | Closed
368 | 2021-10-22 | S | 20211022368 | 08:40:00 | IS | 56 | 3 | lan line issue | CC |  | Case no.: CS0120699 to replace the lan cable (Under CC) Closed
369 | 2021-10-22 | S | 20211022369 | 09:00:00 | FMS | 72 | 3 | aircon cold | Ravi |  | Closed
370 | 2021-10-22 | S | 20211022370 | 09:04:00 | IS | 51 | 6 | sound coming projector | Faisal |  | Closed
371 | 2021-10-22 | S | 20211022371 | 9:06 :00 | Exceltec Cleaning | 56 | 2 | male toilet power tripped due faulty sensor | Shamsor |  | Closed
372 | 2021-10-22 | S | 20211022372 | 09:10:00 | HMS | 51 | 7 | wifi issue | CC |  | Case no.: 0120718 Closed
373 | 2021-10-22 | S | 20211022373 | 09:30:00 | EES | 31 | 8 | rusty lock ict office | Nazri |  | Closed
374 | 2021-10-22 | S | 20211022374 | 09:30:00 | EES | 31-rooftop | rooftop | touch paint door bottom | Nazri |  | Closed
375 | 2021-10-22 | S | 20211022375 | 09:30:00 | EES | 31 | 7 | remove algae wall ceiling outside office | Eddie |  | Closed
376 | 2021-10-22 | S | 20211022376 | 09:30:00 | EES | 27 | 7 | floor powerpoint cover dettached | Nazri |  | Closed
377 | 2021-10-22 | S | 20211022377 | 09:30:00 | EES | 27 | 7 | make good service box covers | Nazri |  | Closed
378 | 2021-10-22 | S | 20211022378 | 09:30:00 | EES | 27 | 7 | water mark ceiling board | Nazri |  | Closed
379 | 2021-10-22 | S | 20211022379 | 09:30:00 | EES | 27 | 7 | door handle loose | Nazri |  | Closed
380 | 2021-10-22 | S | 20211022380 | 09:30:00 | EES | 27 | 7 | make good service box covers | Nazri |  | Closed
381 | 2021-10-22 | S | 20211022381 | 09:30:00 | EES | 27 | 7 | touch wall painting | Nazri |  | Closed
382 | 2021-10-22 | S | 20211022382 | 09:30:00 | EES | 27 | 7 | make good service box covers | Nazri |  | Closed
383 | 2021-10-22 | S | 20211022383 | 09:30:00 | EES | 27 | 7 | partition wall panel came | Nazri |  | Closed
384 | 2021-10-22 | S | 20211022384 | 09:48:00 | FMS | 52 | 8 | aircon | Ravi |  | Closed
385 | 2021-10-22 | S | 20211022385 | 10:03:00 | Exceltec Maintenance | 1 (Library) | 4 | male toilet wc choked | Shamsor |  | Closed
386 | 2021-10-22 | S | 20211022386 | 10:08:00 | Exceltec Cleaning | 4 | 1 | lift lobby light bulb fused | Shamsor |  | Closed
387 | 2021-10-22 | S | 20211022387 | 10:30:00 | EES | 27 | 7 | sagging door | Nazri |  | Closed
388 | 2021-10-23 | S | 20211022388 | 10:30:00 | EES | 31 | 1 | pl light bulb fused | Nazri |  | Closed
389 | 2021-10-24 | S | 20211022389 | 10:30:00 | EES | 31 | 6 | door close fully | Nazri |  | Closed
390 | 2021-10-25 | S | 20211022390 | 10:30:00 | EES | 31 | 6 | box extension cords placed unattended | Nazri |  | for students usage as requested by lecturer Closed
391 | 2021-10-26 | S | 20211022391 | 10:30:00 | EES | 31 | 6 | touch painting door frame | Nazri |  | Closed
392 | 2021-10-27 | S | 20211022392 | 10:30:00 | EES | 31 | 6 | door handle loose | Nazri |  | Closed
393 | 2021-10-22 | S | 20211022393 | 10:36:00 | Exceltec Cleaning | 53 | 6 | male toilet light bulb fused | Shamsor |  | Closed
394 | 2021-10-22 | S | 20211022394 | 10:47:00 | IS | 51 | 7 | aircon switch | Ravi |  | Closed
395 | 2021-10-22 | S | 20211022395 | 11:00:00 | Exceltec Maintenance | 51 | 2 | makan place male toilet water spouting handicapped toilet leading another side toilet | Shamsor |  | Closed
396 | 2021-10-22 | S | 20211022396 | 11:00:00 | EES | 31 | 6 | light tube flickering | Nazri |  | Closed
397 | 2021-10-22 | S | 20211022397 | 11:00:00 | EES | 31 | 6 | touch door painting | Nazri |  | Closed
398 | 2021-10-22 | S | 20211022398 | 11:00:00 | EES | 27 | 1 | plaster repaint chipped wall | Nazri |  | Closed
399 | 2021-10-22 | S | 20211022399 | 11:49:00 | Exceltec Maintenance | 5 | 5 | male toilet light | Shamsor |  | Closed
400 | 2021-10-22 | S | 20211022400 | 12:30:00 | IS | 51 | 7 | connect projector | Faisal |  | Closed
401 | 2021-10-22 | S | 20211022401 | 12:40:00 | IS | 27 | 7 | cannect hdmi cable laptop | Faisal |  | Closed
402 | 2021-10-22 | S | 20211022402 | 12:58:00 | HMS | 50 | 4 | aircon air flow | Ravi |  | Closed
403 | 2021-10-22 | S | 20211022403 | 13:43:00 | LIBRARY | 1 | 2 | aircon cold | Ravi |  | Closed
404 | 2021-10-22 | S | 20211022404 | 13:50:00 | Exceltec Cleaning | 16 | 1 | male toilet urinal water overflow | Shamsor |  | Closed
405 | 2021-10-22 | S | 20211022405 | 14:00:00 | HMS | 51 | 7 | connect audio aircon leaking | Faisal & Ravi |  | Closed
406 | 2021-10-22 | S | 20211022406 | 14:10:00 | EES | 34 | 6 | staff pantry socket power supply | Shamsor |  | Closed
407 | 2021-10-22 | S | 20211022407 | 16:10:00 | HMS | 51 | 6 | next lift lobby towards classroom student dropped broken glass bottle | Eddie & Nora |  | Closed
408 | 2021-10-22 | S | 20211022408 | 17:51:00 | Main guard (Security) | 73 | 3 | art box back sit ceiling light fall | Shamsor |  | Closed
409 | 2021-10-22 | S | 20211022409 | 17:55:00 | Main Guard (Security) | 73 | 3 | art box side wallpaper showing signs decay | James |  | Closed
410 | 2021-10-22 | S | 20211022410 | 18:00:00 | CHUA_Heng_Guan | 22 | 1 | beside landscape area water pipe leaking | Nazri |  | Cancelled. Closed
411 | 2021-10-25 | S | 20211025411 | 07:31:00 | Exceltec Cleaning | 31 | 6 | male toilet sink choked | Nazri |  | Closed
412 | 2021-10-25 | S | 20211025412 | 08:21:00 | IS | 72 | 3 | projector screen showing pink colour | Faisal |  | Closed
413 | 2021-10-25 | S | 20211025413 | 08:25:00 | Exceltec Cleaning | 5 | 3 | male toilet sink choked | Nazri |  | Closed
414 | 2021-10-25 | S | 20211025414 | 08:35:00 | LSCT | 83 | 8 | aircon showing error code | Ravi |  | Closed
415 | 2021-10-25 | S | 20211025415 | 08:37:00 | TSB | 58 | 2 | powerpoint power supply | Nazri |  | Closed
416 | 2021-10-25 | S | 20211025416 | 08:45:00 | Exceltec Maintenance | 51 | 2 | rectify broken piece tile | Nazri |  | Closed
417 | 2021-10-25 | S | 20211025417 | 08:48:00 | EES | 8 | 8 | high water consumption alert | Nazri |  | Closed
418 | 2021-10-25 | S | 20211025418 | 08:53:00 | BA | 73 | 1 | aircon cold | Ravi |  | Closed
419 | 2021-10-25 | S | 20211025419 | 09:10:00 | Exceltec Cleaning | 83 | 6 | female toilet wc cubicle water | Nazri |  | Closed
420 | 2021-10-25 | S | 20211025420 | 09:14:00 | Exceltec Cleaning | 34 | 1 | wall mounted fan faulty | Nazri |  | Closed
421 | 2021-10-25 | S | 20211025421 | 09:48:00 | SOE | 35 | 1 | user connect laptop projector | Richard |  | Closed
422 | 2021-10-25 | S | 20211025422 | 09:51:00 | Exceltec Cleaning | 34 | 1 | handicap toilet water tap broken | Nazri |  | Closed
423 | 2021-10-25 | S | 20211025423 | 09:53:00 | HS | 51 | 6 | unable connect laptop smart tv | Richard |  | Closed
424 | 2021-10-25 | S | 20211025424 | 10:05:00 | SOE | 56 | 6 | unable connect laptop projector | Jeffery |  | Closed, user used VGA
425 | 2021-10-25 | S | 20211025425 | 10:07:00 | DE | 51 | 4 | aircon | Ravi |  | Closed
426 | 2021-10-25 | S | 20211025426 | 10:12:00 | LSCT | 80 | 4 | aircon | Ravi |  | Closed
427 | 2021-10-25 | S | 20211025427 | 10:29:00 | DE | 34 | 3 | projector working | Richard |  | Closed
428 | 2021-10-25 | S | 20211025428 | 10:31:00 | EES | 81 | 4 | aircon making noisy sound | Ravi |  | Closed
429 | 2021-10-25 | S | 20211025429 | 10:33:00 | CC Network (Contractor) | 53 | 8 | power trip | Nazri |  | Closed
430 | 2021-10-25 | S | 20211025430 | 10:52:00 | EES | 73 | 1 | munch aircon piping leaking | Ravi |  | Closed
431 | 2021-10-25 | S | 20211025431 | 11:42:00 | DE | 58 | 4 | projector switch | Richard |  | Closed
432 | 2021-10-25 | S | 20211025432 | 13:13:00 | HMS | 50 | 2 | hear audio properly | Richard |  | Closed
433 | 2021-10-25 | S | 20211025433 | 13:15:00 | SDO | 18 | 2 | light bulb fused | Nazri |  | Closed
434 | 2021-10-25 | S | 20211025434 | 14:06:00 | BA | 72 | 2 | llight flickering office desk cubicle | Nazri |  | Closed
435 | 2021-10-25 | S | 20211025435 | 14:15:00 | SOE | 4 | 5 | light flickering female toilet pipe sink leaking | Nazri |  | Closed
436 | 2021-10-25 | S | 20211025436 | 14:20:00 | HMS | 51 | 7 | aircon leaking | Ravi |  | Closed
437 | 2021-10-25 | S | 20211025437 | 14:27:00 | EWTCOI | 39 | 1 | cleaners cleared rubbish | Nora |  | Closed
438 | 2021-10-25 | S | 20211025438 | 17:40:00 | SOE | 5 | 5 | hdmi sound loud | Faisal |  | Closed
439 | 2021-10-25 | S | 20211025439 | 18:00:00 | EES | 37 | 6 | male female toilet water supply dirty | Nazri & Eddie | PR2021/003479 | Closed
440 | 2021-10-26 | S | 20211026440 | 08:16:00 | FMS | 54 | 1 | aircon | Ravi |  | Closed
441 | 2021-10-26 | S | 20211026441 | 08:19:00 | Exceltec Cleaning | 22 | 1 | lift inside button press | Kone |  | Closed
442 | 2021-10-26 | S | 20211026442 | 08:20:00 | Exceltec Maintenance | 80 | 2 | dispose wooden plank | Nazri |  | Closed
443 | 2021-10-26 | S | 20211026443 | 08:23:00 | Exceltec Cleaning |  |  | atrium male toilet toilet seat came bidet spray faulty | Nazri |  | Closed
444 | 2021-10-26 | S | 20211026444 | 08:27:00 | Exceltec Cleaning | 37 | 6 | female toilet light fused | Nazri |  | Closed
445 | 2021-10-26 | S | 20211026445 | 08:30:00 | EES | 72 | 2 | space printing room light trip | Nazri |  | Closed
446 | 2021-10-26 | S | 20211026446 | 08:38:00 | HMS | 52 | 6 | whole row lights fused | Nazri |  | Closed
447 | 2021-10-26 | S | 20211026447 | 08:45:00 | SOE | 50 | 4 | aircon connect smart tv | Ravi - Aircon Faisal - AV |  | Closed
448 | 2021-10-26 | S | 20211026448 | 08:56:00 | Exceltec Cleaning | 72 | 2 | female toilet wall mounted fan faulty | Nazri |  | Closed
449 | 2021-10-26 | S | 20211026449 | 09:01:00 | Exceltec Cleaning | 72 | 9 | lift lobby wall mounted fan faulty | Nazri |  | Closed
450 | 2021-10-26 | S | 20211026450 | 09:48:00 | SOE | 46 | 2 | issues audio cable | Richard |  | Closed
451 | 2021-10-26 | S | 20211026451 | 09:58:00 | EES | 22 | 4 | student lounge beside lift lobby door handle loose | Nazri |  | Closed
452 | 2021-10-26 | S | 20211026452 | 09:59:00 | EES | 22 | 4 | make good torn sofa | Nazri |  | Closed
453 | 2021-10-26 | S | 20211026453 | 10:08:00 | SOE | 56 | 6 | user connect projector | Jeffery |  | Closed
454 | 2021-10-26 | S | 20211026454 | 10:11:00 | SOE | 5 | 3 | projector working | Richard |  | Closed
455 | 2021-10-26 | S | 20211026455 | 10:13:00 | EES | 22 | 3 | staircase repaint wall | Nazri |  | Closed
456 | 2021-10-26 | S | 20211026456 | 10:19:00 | EES | 22 | 2 | male toilet shower cubicle shower head leaking | Nazri |  | Closed
457 | 2021-10-26 | S | 20211026457 | 10:20:00 | EES | 22 | 2 | touch paint wall facing handicap toilet | Nazri |  | Closed
458 | 2021-10-26 | S | 20211026458 | 10:28:00 | EES | 22 | 1 | male toilet nos light tube fused | Hisham |  | Closed
459 | 2021-10-26 | S | 20211026459 | 10:30:00 | FMS | 56 | 4 | table leg came table wobbly | Nazri |  | Closed
460 | 2021-10-26 | S | 20211026460 | 10:32:00 | EES | 22 | 1 | power point cover came | Nazri |  | Closed
461 | 2021-10-26 | S | 20211026461 | 11:28:00 | Exceltec Cleaning | 75 | 1 | female toilet flushing non stop | Nazri |  | Closed
462 | 2021-10-26 | S | 20211026462 | 11:32:00 | SOE | 4 | 2 | female toilet cubical partition door slanting causing doors unable lock | Nazri |  | Closed
463 | 2021-10-26 | S | 20211026463 | 11:58:00 | Exceltec Maintenance | 52 | 1 | store light tube fused | Hisham |  | Closed
464 | 2021-10-26 | S | 20211026464 | 12:05:00 | IS | 56 | 3 | aircon leaking | Ravi |  | Closed
465 | 2021-10-26 | S | 20211026465 | 12:39:00 | IS | 50 | 6 | connect projector | Faisal |  | Closed
466 | 2021-10-26 | S | 20211026466 | 12:50:00 | BA | 72 | 8 | aircon cold | Ravi |  | Closed
467 | 2021-10-26 | S | 20211026467 | 12:59:00 | IS | - | - | card reader states expired | HR - Ai Shang |  | Closed
468 | 2021-10-26 | S | 20211026468 | 13:15:00 | IS | 51 | 7 | projector issue | Faisal |  | Closed
469 | 2021-10-26 | S | 20211026469 | 13:30:00 | DE | 50 | 3 | aicon working | Ravi |  | Closed
470 | 2021-10-26 | S | 20211026470 | 14:11:00 | SOE | 5 | 3 | projector working | Faisal |  | Closed
471 | 2021-10-26 | S | 20211026471 | 15:00:00 | HS | 81 | 5 | cleaning done | Eddie & Nora |  | Closed
472 | 2021-10-26 | S | 20211026472 | 15:21:00 | EES | 27 | 5 | sevice box cover came | Nazri |  | Closed
473 | 2021-10-26 | S | 20211026473 | 15:22:00 | EES | 56 & 40 | 2 | staircase light bulb fused near nos light faulty | Hisham |  | Closed
474 |  |  | 20211026474 | 15:23:00 | EES | 27 | 5 | door sagging | Nazri |  | Closed
475 | 2021-10-26 | S | 20211026475 | 15:23:00 | EES | 72 | 1 | near one emergency light power ceiling light power transformer dangling feedback np night guard | Hisham |  | Closed
476 | 2021-10-26 | S | 20211026476 | 15:22:00 | EES | 7/8 | 1 | lift lobby light bulb fused | Hisham |  | Closed
477 | 2021-10-26 | S | 20211026477 | 15:29:00 | EES | 27 | 4 | ceiling board got holes replaced | Nazri |  | Closed
478 | 2021-10-26 | S | 20211026478 | 15:30:00 | EES | 27 | 4 | ceiling board got holes replaced | Nazri |  | Closed
479 | 2021-10-26 | S | 20211026479 | 15:35:00 | EES | 27 | 4 | ceiling paint chip | James |  | Closed
480 | 2021-10-26 | S | 20211026480 | 16:50:00 | HMS | 82 | 3 | aircon stuffy | Ravi |  | Closed
481 | 2021-10-26 | S | 20211026481 | 16:52:00 | LSCT | 83 | 4 | pedestal drawer locked sor khims cubicle side door drawer locked cubicle front corliss | EES Johan (via email) |  | MWR2021/000254 Closed
482 | 2021-10-26 | S | 20211026482 | 17:30:00 | ICT | 31 | 8 | deputy director roomto change new light due flickering fix tmr | Hisham |  | Closed
483 | 2021-10-26 | S | 20211026483 | 17:51:00 | EES | 7 | 3 | troubleshoot line faulty | Hisham |  | Closed
484 | 2021-10-26 | S | 20211026484 | 18:16:00 | Exceltec Cleaning | 72 | 6 | male toilet light bulb fused | Hisham |  | Closed
485 | 2021-10-26 | S | 20211026485 | 18:17:00 | Moovita | 44 | 1 | light casing going fall fix tmr avoid lunch timing | Hisham |  | Closed
486 | 2021-10-26 | S | 20211026486 | 18:19:00 | Exceltec Cleaning | 72 | 6 | male toilet urinal leaking | Nazri |  | Closed
487 | 2021-10-26 | S | 20211026487 | 20:07:00 | Exceltec Cleaning | 58 | 1 | nos light tubes fused | Hisham |  | Closed
488 | 2021-10-27 | S | 20211027488 | 07:43:00 |  | 53 | 3 | help clean office whiteboard | Eddie |  | Closed
489 | 2021-10-27 | S | 20211027489 | 08:24:00 | Exceltec Cleaning | 70 | 1 | student plaza drain grating broken | Nazri |  | Closed
490 | 2021-10-27 | S | 20211027490 | 08:36:00 | Exceltec Cleaning | 58 | 1 | light bulb fused | Hisham |  | Closed
491 | 2021-10-27 | S | 20211027491 | 08:44:00 | IS | 56 | 4 | whole level power trip | Hisham |  | Closed
492 | 2021-10-27 | S | 20211027492 | 08:46:00 | BA | 37 | - | corridor power trip | Hisham |  | Closed
493 | 2021-10-27 | S | 20211027493 | 08:50:00 | EES | 73 | - | lt corridor power trip | Hisham |  | Closed
494 | 2021-10-27 | S | 20211027494 | 09:02:00 | LIBRARY | 4 | 1 | female toilet first cubical wc choked | Nazri |  | Closed
495 | 2021-10-27 | S | 20211027495 | 09:10:00 | HS | 81 | 5 | aircon cold | Ravi |  | Closed
496 | 2021-10-27 | S | 20211027496 | 09:15:00 | SOE | 35 | 2 | connect projector | Jeffery |  | Closed
497 | 2021-10-27 | S | 20211027497 | 09:23:00 | TSB | 51 | 6 | main gate side gate card reader showed tcu comp fail | CC |  | Case No.: CS0121807 Closed
498 | 2021-10-27 | S | 20211027498 | 09:30:00 | SOE | 5 | 4 | speaker working | Jeffery |  | Closed
499 | 2021-10-27 | S | 20211027499 | 09:42:00 | EES | 72 | 4 | fire lift light bulb flickering | Hisham |  | Closed
500 | 2021-10-27 | S | 20211027500 | 10:05:00 | SDO | 22 | 2 | sports hall ceiling fan turn | Nazri |  | Closed
501 |  |  | 20211027501 | 10:13:00 | LSCT | Blk 80 | 4 | two old aircons cbe labs one one need replaced old aircons functioning cool fan blowing | EES Alan (via email) |  | MWR2021/000255 Closed
502 | 2021-10-27 | S | 20211027502 | 10:15:00 | Exceltec Cleaning | 56 | 5 | female toilet wc water | Nazri |  | Closed
503 | 2021-10-27 | S | 20211027503 | 10:17:00 | Exceltec Cleaning | 18 | 2 | sdo office female toilet sink water | Nazri |  | Closed
504 | 2021-10-27 | S | 20211027504 | 10:19:00 | Exceltec Cleaning | 18 | 2 | sdo office male toilet wc cover come | Nazri |  | Closed
505 | 2021-10-27 | S | 20211027505 | 10:20:00 | Exceltec Cleaning | 18 | 4 | male female toilet light | Hisham |  | Closed
506 | 2021-10-27 | S | 20211027506 | 10:22:00 | EES | 72 | 4 | light bulb flickering | HIsham |  | Closed
507 | 2021-10-27 | S | 20211027507 | 10:23:00 | CEG | 73 |  | light flickering | Hisham |  | Closed
508 | 2021-10-27 | S | 20211027508 | 10:36:00 | EES | 72 | 3 | door handle loose | Nazri |  | Closed
509 | 2021-10-27 | S | 20211027509 | 10:45:00 | SOE | 46 | 2 | projector display screen | Jeremy |  | Closed
510 | 2021-10-27 | S | 20211027510 | 10:50:00 | HS | 81 | 4 | weird sound coming aircon | Ravi |  | Closed
511 | 2021-10-27 | S | 20211027511 | 11:00:00 | EES | 82 | 2 | aircon cold | Ravi |  | Closed
512 | 2021-10-27 | S | 20211027512 | 11:05:00 | EES | 81 | 4 | outside corridor chwp noisy | Ravi |  | Closed
513 | 2021-10-27 | S | 20211027513 | 11:07:00 | EES | 83 | 3 | emergency light working | Hisham |  | Closed
514 | 2021-10-27 | S | 20211027514 | 11:20:00 | SOE | 37 | 6 | corridor lights female toilet lights working | Hisham |  | Closed
515 | 2021-10-27 | S | 20211027515 | 11:30:00 | SOE | 39 | 2 | card access reader faulty | EES Jacob |  | Closed
516 | 2021-10-27 | S | 20211027516 | 12:00:00 | SOE | 56 | 6 | buzzing sound coming lighting | Hisham |  | Closed
517 | 2021-10-27 | S | 20211027517 | 12:58:00 | LSCT | 56 | 4 | wifi | CC |  | Closed
518 | 2021-10-27 | S | 20211027518 | 13:10:00 | HS | 81 | 5 | aircon cold | Ravi |  | Closed
519 | 2021-10-27 | S | 20211027519 | 13:20:00 | SOE | 50 | 6 | help user connect smart tv | Jeffery |  | Closed
520 | 2021-10-27 | S | 20211027520 | 13:50:00 | IS | 51 | 6 | aircon leaking | Ravi |  | Closed
521 | 2021-10-27 | S | 20211027521 | 13:54:00 | EES | 5 | 3 | carry target wipedown | Eddie |  | Closed
522 | 2021-10-27 | S | 20211027522 | 14:00:00 | LIBRARY | 1 | 5 | near shelf one ceiling board light flickering | Hisham |  | Closed
523 | 2021-10-27 | S | 20211027523 | 14:10:00 | SOE | 34 | 5 | help user smart tv | Jeffery |  | Closed
524 | 2021-10-27 | S | 20211027524 | 2:30 :00 | FMS | 72 | 4 | ceiling leaking water floor near powerpoint | Nazri |  | Closed
525 | 2021-10-27 | S | 20211027525 | 15:00:00 | SOE | 5 | 3 | hdmi cable working | Jeffery |  | Closed
526 | 2021-10-27 | S | 20211027526 | 15:10:00 | SOE | 5 | 3 | aircon hot | Ravi |  | Closed
527 | 2021-10-27 | R | 20211027527 | 15:21:00 | EES | 83 | 3 | tv power trip lift lobby | Hisham |  | Closed
528 | 2021-10-27 | S | 20211027528 | 15:41:00 | EES | 18 | 1 | repaint sports complex signage | Nazri |  | Closed
529 | 2021-10-27 | S | 20211027529 | 15:41:00 | EES | 16 | 1 | touch wall painting | Nazri |  | Closed
530 | 2021-10-27 | S | 20211027530 | 16:00:00 | EES | 22 | 1 | water cooler water | Nazri |  | Closed
531 | 2021-10-27 | R | 20211027531 | 16:03:00 | SOE | 5 | 3 | aircon leaking | Ravi |  | Closed
532 | 2021-10-27 | S | 20211027532 | 16:03:00 | EES | 23 | 3 | wall cracks lift lobby | Nazri |  | Closed
533 | 2021-10-27 | S | 20211027533 | 16:08:00 | EES | 23 | 1 | ceiling panels going drop | James |  | Closed
534 | 2021-10-27 | S | 20211027534 | 16:11:00 | EES | 23 | 1 | staff male toilet urinal strainer missing | Nazri |  | Closed
535 | 2021-10-27 | S | 20211027535 | 16:14:00 | EES | 27 | 1 | patch wall using putty paint | Nazri |  | Closed
536 | 2021-10-27 | R | 20211027536 | 16:38:00 | SOE | 8 | 3 | projector screen blue colour | Richard |  | Closed
537 | 2021-10-27 | S | 20211027537 | 17:01:00 | EES | 82 | 2 | aircon hot | Ravi |  | Closed
538 | 2021-10-27 | S | 20211027538 | 17:39:00 | Exceltec Cleaning | 5 | 3 | female toilet stainless steel flexible hose leaking | Nazri |  | Closed
539 | 2021-10-27 | S | 20211027539 | 17:56:00 | EES | 58 | 2 | agile office clean view minister visit oct | Eddie |  | Closed
540 | 2021-10-28 | S | 20211028540 | 07:39:00 | HMS | 51 | 6 | aircon cold | Ravi |  | Closed
541 | 2021-10-28 | S | 20211028541 | 07:55:00 | SOE | 27 | 1 | aircon | Ravi |  | Closed
542 | 2021-10-28 | R | 20211028542 | 08:17:00 | BA | 72 | 9 | working desk phone working | Han WFH - Vincent Kok to assist |  | Closed
543 | 2021-10-28 | R | 20211028543 | 08:20:00 | IS | 31 | 6 | lights working | Nazri |  | Closed
544 | 2021-10-28 | R | 20211028544 | 08:30:00 | HS | 82 | 2 | hs office light flickering | Hisham |  | Closed
545 | 2021-10-28 | S | 20211028545 | 08:33:00 | EES | 16 | 1 | store roller shutter closed | Nazri |  | Closed
546 | 2021-10-28 | R | 20211028546 | 09:00:00 |  | 58 | 2 | light flickeringblow | Hisham |  | Closed
547 | 2021-10-28 | S | 20211028547 | 09:03:00 | Exceltec Cleaning | 8 | 5 | corridor light infront toilet light bulb fused | Hisham |  | Closed
548 | 2021-10-28 | S | 20211028548 | 09:05:00 | Exceltec Cleaning | 8 | 6 | male toilet holder broken | Nazri |  | Closed
549 | 2021-10-28 | R | 20211028549 | 09:13:00 |  | 51 | 6 | aircon strength veak weak | Ravi |  | Closed
550 | 2021-10-28 | S | 20211028550 | 09:19:00 | Exceltec Cleaning | 8 | 3 | female toilet light bulb fused | Hisham |  | Closed
551 | 2021-10-28 | S | 20211028551 | 09:22:00 | Exceltec Cleaning | 8 | 3 | male toilet nos light bulb faulty | Hisham |  | Closed
552 | 2021-10-28 | S | 20211028552 | 09:29:00 | Exceltec Maintenance | 80 | 2 | windows need unrevert | James |  | Closed
553 | 2021-10-28 | S | 20211028553 | 09:30:00 | Exceltec Cleaning | 7 | 1 | female toilet sink water supply | Nazri |  | Closed
554 | 2021-10-28 | R | 20211028554 | 09:37:00 | ICT | 31 | 7 | claasroom powertrip | Hisham |  | Closed
555 | 2021-10-28 | S | 20211028555 | 09:39:00 | Exceltec Cleaning | 46 | 3 | rooftop ceiling leaking choked | Nazri |  | Closed
556 | 2021-10-28 | R | 20211028556 | 10:03:00 | EWTCOI | 39 | 1 | female toilet clean toilet paper | Eddie |  | Closed
557 | 2021-10-28 | S | 20211028557 | 10:15:00 | SAS | 22 | 3 | sas office door knob drop | Nazri |  | Closed
558 | 2021-10-28 | S | 20211028558 | 10:30:00 | SOE | 5 | 5 | projector working | Richard |  | Closed
559 | 2021-10-28 | S | 20211028559 | 10:06:00 | EES | 73 | 2 | nos light tube fused | Hisham |  | Closed
560 | 2021-10-28 | S | 20211028560 | 10:44:00 | EES | 80 | 2 | replace laminate wardrobe measurement h x x w | James |  | Closed
561 | 2021-10-28 | R | 20211028561 | 10:55:00 |  | 53 | 4 | projector working | Richard |  | HDMI was faulty, HDMI replaced. closed
562 | 2021-10-28 | S | 20211028562 | 11:11:00 | Moovita | 44 | 1 | meeting room nos light fused | Hisham |  | Closed
563 | 2021-10-28 | S | 20211028563 | 11:19:00 | Exceltec Cleaning | CC |  | light casing drop | Hisham |  | Closed
564 | 2021-10-28 | S | 20211028564 | 12:10:00 | HMS | 52 | 3 | female toilet toilet paper | Noridah |  | Closed
565 | 2021-10-28 | S | 20211028565 | 12:36:00 | EES | Beside blk 73 |  | futsal court goalpost broken | Azrul |  | Closed
566 | 2021-10-28 | S | 20211028566 | 12:39:00 | Exceltec Maintenance | 6 | 6 | male toilet pipe leaking | Nazri |  | Closed
567 | 2021-10-28 | S | 20211028567 | 12:40:00 | Exceltec Maintenance | 68 |  | convention centre ceiling got hole | James |  | Closed
568 | 2021-10-28 | S | 20211028568 | 12:42:00 | Exceltec Maintenance | 1 |  | carpark wall need patch | James |  | Closed
569 | 2021-10-28 | S | 20211028569 | 14:00:00 | EES | 54 | 2 | rooftop leaking greenscreen lvl pail contain water almost full | Nazri |  | Closed
570 | 2021-10-28 | S | 20211028570 | 14:43:00 | Exceltec Cleaning | 73 | 1 | ceiling leaking | James |  | Closed
571 | 2021-10-28 | S | 20211028571 | 15:24:00 | Exceltec Cleaning | 52 | 9 | male toilet bidet spray leaking | Nazri |  | Closed
572 | 2021-10-28 | R | 20211028572 | 17:05:00 | SOE | 38 |  | lt aircon power | Ravi |  | Closed
573 | 2021-10-28 | S | 20211028573 | 17:08:00 | Exceltec Maintenance | 51 | 6 | aircon leaking | Ravi |  | Closed
574 | 2021-10-28 | S | 20211028574 | 17:22:00 | Exceltec Cleaning | 51 | 4 | nos light bulb fused | Hisham |  | Closed
575 | 2021-10-28 | S | 20211028575 | 18:47:00 | EES | 1 | 1 | drainage missing floor trap | Nazri |  | Closed
576 | 2021-10-29 | S | 20211029576 | 07:11:00 | Exceltec Maintenance | Zebra crossing going towards blk 56 | 1 | sheltered walkway ligh bulb fused | Hisham |  | Closed
577 | 2021-10-29 | S | 20211029577 | 07:21:00 | Exceltec Maintenance | 34 | 2 | handicap toilet water tap broken | Nazri |  | Closed
578 | 2021-10-29 | S | 20211029578 | 08:22:00 | Exceltec Cleaning | 22 | 1 | male toilet urinal choked | Nazri |  | Closed
579 | 2021-10-29 | S | 20211029579 | 08:38:00 | SOE | 47 | 5 | aircon | Ravi |  | Closed
580 | 2021-10-29 | S | 20211029580 | 08:59:00 | Exceltec Cleaning | 47 | 5 | male flushing button toilet spoil | Nazri |  | Closed
581 | 2021-10-29 | S | 20211029581 | 09:25:00 | Exceltec Maintenance | 50 | 5 | rooftop toilet exhause fan power | Hisham |  | Closed
582 | 2021-10-29 | S | 20211029582 | 09:34:00 | Exceltec Cleaning | 37 | 6 | female toilet water tap faulty | Nazri |  | Closed
583 | 2021-10-29 | S | 20211029583 | 09:45:00 | SOE | 39 | 2 | projector working | Jeffery |  | Closed
584 | 2021-10-29 | S | 20211029584 | 10:00:00 | FMS | 72 | 3 | aircon working | Ravi |  | Closed
585 | 2021-10-29 | S | 20211029585 | 10:00:00 | FMS | 72 | 3 | projector working | Jeffery |  | Closed
586 | 2021-10-29 | S | 20211029586 | 10:20:00 | SDO | 22 | 2 | sports hall ceiling fan power tripped | Hisham |  | Closed
587 | 2021-10-29 | S | 20211029587 | 10:47:00 | Exceltec Cleaning | 31 |  | staircase lobby light sensor light tube faulty | Hisham |  | Closed
588 | 2021-10-29 | S | 20211029588 | 10:45:00 | HMS | 51 | 6 | aircon leaking | Ravi |  | Closed
589 | 2021-10-29 | S | 20211029589 | 10:47:00 | Exceltec Cleaning | 23 | rooftop | rooftop drainage choked | Nazri |  | Closed
590 | 2021-10-29 | S | 20211029590 | 10:48:00 | LIBRARY | 1 | 5 | opposite shelf ceiling light flickering | Hisham |  | Closed
591 | 2021-10-29 | S | 20211029591 | 11:00:00 | IS | 51 | 7 | aircon leaking | Ravi |  | Closed
592 | 2021-10-29 | S | 20211029592 | 13:25:00 | Exceltec Maintenance | 27 | 5 | carry target wipedown | Kavitha |  | Closed
593 | 2021-10-29 | S | 20211029593 | 13:49:00 | EES | 22 | 2 | sports hall near toilet side door open | Nazri |  | Closed
594 | 2021-10-29 | S | 20211029594 | 14:31:00 | Exceltec Cleaning | 50 | 5 | fan dangling lift lobby | Nazri |  | Closed
595 | 2021-10-29 | S | 20211029595 | 14:40:00 | HMS | 51 | 6 | problem connecting smart tv | Jeffery |  | Closed
596 | 2021-10-29 | S | 20211029596 | 15:00:00 | OLT | 31 | 2 | production room aircon leaking ceiling board broke | Ravi & Nazri |  | Closed
597 | 2021-10-29 | S | 20211029597 | 15:10:00 | FMS | 72 | 3 | aircon | Ravi |  | Closed
598 | 2021-10-29 | S | 20211029598 | 15:20:00 | HMS | 27 | 7 | user want enter classroom | Jeffery |  | Closed
599 | 2021-10-29 | R | 20211029599 | 15:24:00 | HMS | 51 | 6 | projector working | Jeffery |  | Closed
600 | 2021-10-29 | R | 20211029600 | 15:31:00 | SOE | 5 | 3 | hdmi network visualiser power | Jeffery |  | Closed
601 | 2021-10-29 | R | 20211029601 | 15:43:00 | HMS | 51 | 6 | aircon leaking | Ravi |  | Closed
602 | 2021-10-29 | S | 20211029602 | 16:00:00 |  | 31 | 2 | find maggie open door blk aircon leakage | Ravi |  | Closed
603 | 2021-10-29 | S | 20211029603 | 17:00:00 |  | 34 | 6 & 7 | change folllowing key lock direction nos lvl nos lvl turn knob external key lock inside office | Nazri |  | Closed